## Worksheet
VALLEY CENTER MUNICIPAL WATER DISTRICT
BOND ESTIMATE WORKSHEET
Project: |  |  | Job Number:
Prepared By: |  |  | Tract/Map #:
Date: | X/XX/202X
Engineer: |  |  | Developer/ Owner:
Seal:
|  | WATER IMPROVEMENTS TOTAL |  | 0
|  | SEWER IMPROVEMENTS TOTAL |  | 0
|  | CONTINGENCY 10% |  | 0
|  | DISTRICT ADMIN/INSPECTION 10% |  | 0
|  | TOTAL BOND AMOUNT |  | 0

## Water Estimate
VALLEY CENTER MUNICIPAL WATER DISTRICT
BOND ESTIMATE
WATER IMPROVEMENTS
PROJECT: | 0 | DATE: | X/XX/202X
PREPARED BY: | 0 | JOB #: | 0
DEVELOPER: | 0 | TRACT/MAP#: | 0
ENGINEER: | 0
NOTES: - COST IS BASED ON FULL INSTALL, INCLUDING MATERIAL, LABOR, EQUIPMENT. - INCLUDES TRENCHING, BACKFILL, PAVING, TESTING AND DISINFECTION. - WATERLINES INCLUDE ALL FITTINGS, DEFLECTION COUPLINGS, THRUST BLOCKS, RESTRAINTS. - ALL INSTALLATIONS PER APPROVED PLANS AND DISTRICT STANDARD DRAWINGS. - IF NECESSARY ITEMS NOT LISTED BELOW, USE EXTRA SPACE PROVIDED, COST SHALL BE DETERMINED BY DISTRICT. - UNIT COSTS ARE SPECIFIED BY DISTRICT AND SHALL NOT BE ALTERED
Item | Description | Std Detail | Quantity | Units | Unit Cost | Total
1 | 6" PVC CL 235/305 | W-17 | 0 | LF | 141 | 0
2 | 8" PVC CL 235/305 | W-17 | 0 | LF | 185 | 0
3 | 10" PVC CL 235/305 | W-17 | 0 | LF | 205 | 0
4 | 12" PVC CL 235/305 | W-17 | 0 | LF | 215 | 0
5 | 16" PVC CL 235/305 | W-17 | 0 | LF | 227 | 0
6 | 6" CL 350 DUCTILE IRON PIPE | W-17 | 0 | LF | 141 | 0
7 | 8" CL 350 DUCTILE IRON PIPE | W-17 | 0 | LF | 185 | 0
8 | 10" CL 350 DUCTILE IRON PIPE | W-17 | 0 | LF | 205 | 0
9 | 12" CL 350 DUCTILE IRON PIPE | W-17 | 0 | LF | 215 | 0
10 | 16" CL 350 DUCTILE IRON PIPE | W-17 | 0 | LF | 227 | 0
11 | JACKED 16" STEEL CASING & CARRIER PIPE |  | 0 | LF | 1100 | 0
12 | JACKED 20" STEEL CASING & CARRIER PIPE |  | 0 | LF | 1150 | 0
13 | 6" RWGV | W-25 | 0 | EACH | 1200 | 0
14 | 8" RWGV | W-25 | 0 | EACH | 1700 | 0
15 | 10" RWGV | W-25 | 0 | EACH | 1800 | 0
16 | 12" RWGV | W-25 | 0 | EACH | 3500 | 0
17 | 16" BUTTERFLY VALVE | W-25 | 0 | EACH | 4200 | 0
18 | 18" BUTTERFLY VALVE | W-25 | 0 | EACH | 4400 | 0
19 | 20" BUTTERFLY VALVE | W-25 | 0 | EACH | 4600 | 0
20 | FIRE HYDRANT | W-12 | 0 | EACH | 7000 | 0
21 | 1" AV ASSEMBLY | W-13 | 0 | EACH | 3500 | 0
22 | 2" AV ASSEMBLY | W-14 | 0 | EACH | 4500 | 0
23 | 1" AV AND 2" BO COMBO ASSEMBLY | W-10 | 0 | EACH | 5000 | 0
24 | 2" BLOW OFF | W-9 | 0 | EACH | 6500 | 0
25 | 4" BLOW OFF | W-11 | 0 | EACH | 7200 | 0
26 | 6" BLOW OFF | W-12 | 0 | EACH | 7500 | 0
27 | 3/4" OR 1" WATER SERVICE | W-3 | 0 | EACH | 7324 | 0
28 | 3/4" DOMESTIC AND 1" FIRE WATER SERVICE | W-3A | 0 | EACH | 6872 | 0
29 | 1.5" OR 2" WATER SERVICE | W-4 | 0 | EACH | 7629 | 0
30 | 3" WATER SERVICE | W-5 | 0 | EACH | 9548 | 0
31 | 1.5" OR 2" FIRE SERVICE | W-7 | 0 | EACH | 4500 | 0
32 | 4" OR LARGER FIRE SERVICE | W-8 | 0 | EACH | 7500 | 0
33 | WATER TEST STATION | W-35 | 0 | EACH | 3000 | 0
34 | TEMPORARY PIPING AND FITTINGS |  | 0 | LF | 50 | 0
35 | CONNECT TO EXISTING 8" MAIN |  | 0 | EACH | 10000 | 0
36 | CONNECT TO EXISTING 10" MAIN |  | 0 | EACH | 12000 | 0
37 | CONNECT TO EXISTING 12" MAIN |  | 0 | EACH | 15000 | 0
38 | ABANDON EXISTING MAIN NON ACP |  | 0 | LF | 10 | 0
39 | ABANDON/DISPOSE EXISTING MAIN ACP |  | 0 | LF | 60 | 0
40 | REMOVE AND DISPOSE AV/BO/FH AT MAIN |  | 0 | EA | 3000 | 0
41 | ABANDON METER SERVICE AT MAIN |  | 0 | LF | 1500 | 0
42 |  |  |  |  | 100 | 0
43 |  |  |  |  | 100 | 0
44 |  |  |  |  | 100 | 0
45 |  |  |  |  | 100 | 0
46 |  |  |  |  | 100 | 0
47 |  |  |  |  | 100 | 0
48 |  |  |  |  | 100 | 0
| WATER IMPROVEMENTS TOTAL |  |  |  |  | 0

## Sewer Estimate
VALLEY CENTER MUNICIPAL WATER DISTRICT
BOND ESTIMATE
SEWER IMPROVEMENTS
PROJECT: | 0 | DATE: | X/XX/202X
PREPARED BY: | 0 | JOB #: | 0
DEVELOPER: | 0 | TRACT/MAP#: | 0
ENGINEER: | 0
NOTES: - COST IS BASED ON FULL INSTALL, INCLUDING MATERIAL, LABOR, EQUIPMENT. - INCLUDES TRENCHING, BACKFILL, PAVING. - SEWER MAIN INCLUDES CCTV, AIR TESTING, MANDREL. - ALL INSTALLATIONS PER APPROVED PLANS AND DISTRICT STANDARD DRAWINGS. - IF NECESSARY ITEMS NOT LISTED BELOW, USE EXTRA SPACE PROVIDED, COST SHALL BE DETERMINED BY DISTRICT. - UNIT COSTS ARE SPECIFIED BY DISTRICT AND SHALL NOT BE ALTERED
Item | Description | Std Detail | Quantity | Units | Unit Cost | Total
0-7FT DEPTH
1 | 6" SEWER MAIN SDR35 | S-8 | 0 | LF | 76 | 0
2 | 8" SEWER MAIN SDR35 | S-8 | 0 | LF | 79 | 0
3 | 10" SEWER MAIN SDR35 | S-8 | 0 | LF | 87 | 0
4 | 12" SEWER MAIN SDR35 | S-8 | 0 | LF | 97 | 0
5 | 6" SEWER MAIN SDR26 | S-8 | 0 | LF | 84 | 0
6 | 8" SEWER MAIN SDR26 | S-8 | 0 | LF | 89 | 0
7 | 10" SEWER MAIN SDR26 | S-8 | 0 | LF | 96 | 0
8 | 12" SEWER MAIN SDR26 | S-8 | 0 | LF | 104 | 0
| ADD 2% FOR EVERY FOOT OVER 7FT | DEPTH | ENTER DEPTH OVER 7FT
9 | 6" SEWER MAIN SDR35 | 0 | 0 | LF | 0 | 0
10 | 8" SEWER MAIN SDR35 | 0 | 0 | LF | 0 | 0
11 | 10" SEWER MAIN SDR35 | 0 | 0 | LF | 0 | 0
12 | 12" SEWER MAIN SDR35 | 0 | 0 | LF | 0 | 0
13 | 6" SEWER MAIN SDR26 | 0 | 0 | LF | 0 | 0
14 | 8" SEWER MAIN SDR26 | 0 | 0 | LF | 0 | 0
15 | 10" SEWER MAIN SDR26 | 0 | 0 | LF | 0 | 0
16 | 12" SEWER MAIN SDR26 | 0 | 0 | LF | 0 | 0
17 | PRECAST 4FT MANHOLE | S-4 | 0 | EACH | 4000 | 0
18 | PRECAST 5FT MANHOLE | S-5 | 0 | EACH | 5000 | 0
19 | TERMINUS MANHOLE | S-6 | 0 | EACH | 4500 | 0
20 | PRECAST DROP MANHOLE | S-7 | 0 | EACH | 7000 | 0
21 | NEW SEWER LATERAL | S-11 | 0 | EACH | 1500 | 0
22 | DEEP CUT SEWER LATERAL | S-12 | 0 | EACH | 2200 | 0
23 | SEWER LATERAL CUT IN | S-13 | 0 | EACH | 1800 | 0
24 | SEWER CLEANOUT | S-14 | 0 | EACH | 1600 | 0
25 | [5 empty] | 0
26 | [5 empty] | 0
27 | [5 empty] | 0
28 | [5 empty] | 0
29 | [5 empty] | 0
30 | [5 empty] | 0
31 | [5 empty] | 0
32 | [5 empty] | 0
33 | [5 empty] | 0
| SEWER IMPROVEMENTS TOTAL |  |  |  |  | 0